A.	Building Program and the Design Process	2

B.	Architectural Program	3

C.	Bubble Diagram of Facility Spatial Relationships	8

D.	General Requirements of the Community Center	9

1.	Flexibility and Expandability	9

2.	Sustainable Design Principles	9

3.	Monitoring and Control of Access	10

4.	Fenestration	10

5.	Space Finishes	11

6.	Access for the Disabled	11

7.	Noise	11

8.	Environmental Conditions (HVAC)	12

9.	Illumination	12

10.	Power and Data Communications Requirement	12

11.	Security Systems	13

12.	Signs	13

13.	Audio-Visual Systems	14

14.	Facility Management Costs	14

Appendix A:  CC Team Members	15

Appendix B:  Project Schedule	16

Appendix C:  Preliminary Budget Estimates	17

Appendix D:  Programming and Planning Guidelines [6-15-2004]	18

Appendix D:  Photos of sample desirable features	24

# A.	Building Program and the Design Process

The design of the community center must address the needs of both the residents of University Hills and those of the ICHA staff.  While residents and ICHA staff have related concerns about University Hills, their usage of the community center space will be quite different in intensity, function, and purpose.  Residents will use the facility for shared leisure activities while ICHA will use it for day-to-day administrative operations for the management of University Hills sales and rentals of housing and the maintenance of rental properties and common outdoor facilities and landscaping.  Relatively modest available funds of $2.5 million for site development and construction serve as an important constraint on the overall plan for the facility and its amenities.  Additional funding may become available later to upgrade amenities or to expand the interior space.

Community Center

Residents of University Hills are expected to utilize the community center at different times of the day and in a number of different ways.  Group gatherings and activities will include meetings, meals, and various special programs that will often occur simultaneously.  Some activities will be multi-generational in nature while others will be exclusively for children or for adults.  Different types of activities require different types of furniture, storage, and floor and wall surfaces, access, and lighting.  Shared kitchen facilities and accessible bathroom facilities are expensive, but necessary, components of the building.  Because many activities can take place either inside or outside, the Building Program specifies both interior and exterior activity spaces.  The incorporation of outdoor features will increase amenities which otherwise would not be provided due to the limited budget.

ICHA Staff

ICHA staff will utilize its portion of the community center primarily during regular business hours.  Staff needs include a public reception area capable of displaying large graphic displays of floor plans and maps; individual workstations for staff to carry out administrative tasks associated with sales, rentals, and property maintenance; and storage space.  [Get statement from Andrew Herndon specifying the number of employees, their titles/functions, etc.]

# B.	Architectural Program

| Space/Room Name | Capacity Size in sq. ft.?? | Uses | Adjacencies | Features | Priority |
| --- | --- | --- | --- | --- | --- |
| Great Room | 50 – banquet/ballroom setting | Multipurpose intense use Community meetings Parties Dance Lectures Concerts Theater Exercise classes Presentations Movies | Other smaller rooms Kitchen Outdoor courtyard | Storage for multipurpose furnishings and equipment Audio Visual Stage? Acoustic/sound attenuation Wet area Indoor/Outdoor Natural light and ventilation | Rating____ Divisible into smaller rooms (MPRs 1, 2 or 3) Flexibility to stand alone and/or consolidate with other rooms for greater square footage |
| Entry/Reception Area | Staffed/unstaffed? Foyer setting | Transition from parking area to interior of CC Monitoring point for persons entering and leaving facility | ICHA offices Shared conference/meeting room | Seating for visitors Bulletin board for community announcements Display system for exhibits | Rating ____ |
| Passive Recreation Club/Parlor | 20 - lecture or living room setting | Mostly adult moderate use Club meetings Lectures Reading Quiet Activities | Great room Other smaller rooms Kitchen Outdoor courtyard | Elegant Finishes Wet area Indoor/outdoor relationship Minimal storage Fireplace shared w/ outside or another room? | Rating____ Flexibility to stand alone and/or consolidate with other rooms for greater square footage |
| MPR 1 Active Recreation (children activities) | 25 - workshop setting | Mostly Child and Juvenile intensive use Parties Games Arts and Crafts Playgroups After school programs | Great room Other smaller rooms Kitchen Outdoor courtyard V. close to bathrooms for kid use. | Low maintenance Durable finishes Natural Light and ventilation Wet area | Rating____ Flexibility to stand alone and/or consolidate with other rooms for greater square footage |
| MPR 2 Active Recreation 2 (Arts and Crafts) | 25 - workshop setting | Adult and Juvenile intensive use Parties Games Arts and Crafts Playgroups After school activities | Great room Other smaller rooms Kitchen Outdoor courtyard | Low maintenance Durable finishes Storage for multipurpose furnishings and equipment Audio Visual Wet area Indoor/Outdoor Natural light and ventilation | Rating____ Flexibility to stand alone and/or consolidate with other rooms for greater square footage |
| MPR 3 Active Recreation 3 (music lounge) | 40 dancehall setting | Adult and Juvenile Use Parties Games Music concerts Dance After school activities | Great room Other smaller rooms Kitchen Outdoor courtyard Probably the end room. Least adjacent to kitchen, other rooms? | Storage for multipurpose furnishings and equipment Stage Acoustics and Sound attenuation Wet area Indoor/Outdoor | Rating____ Flexibility to stand alone and/or consolidate with other rooms for greater square footage |
| Kitchen | Size?? | Low level domestic cooking Prep for caterers, Assembling brought-in food, party prep | Great Room and at least two other smaller rooms Drop off area or Parking lot Courtyards The most central room in building | Storage for equipment Pass through counter to at least two interior rooms Pass through counter to outdoors Sink Stove/w oven combo Microwave Refrigerator Ice Maker Ample counter space Pantry storage pass through service | Rating____ Indoor/outdoor function Accessible to most rooms |
| Joint ICHA/CC Conference Room | Between 8-20 persons | Shared space for ICHA meetings, HRB meetings. Available for use by residents who operate home-based businesses and need a conference room for meeting clients outside of home | ICHA staff offices Entry area | Conference table Conference chairs Projection screen DVD player Video projector | Rating ______ Quiet area for private meetings and conversations |
| Bathrooms |  | DOESN'T need to serve Gabriellino park? | Most rooms Outdoor courtyard areas Locate off the entry hall, close to both MPR’s and parking lot | Capacity to serve all rooms at full capacity. Is this true? What's the usual ratio? | Dual access indoor/outdoor Access control for security |
| Courtyards and outdoor seating areas | Smaller 5-15 person groups Consider larger groups | Multipurpose Use Informal gatherings Eating Lounging Spillout & overflow from MPRs | Great Room Other smaller rooms | Barbecues Fireplaces Fire pits Some of them shaded or sheltered with trees, trellises or umbrellas Outdoor rooms or undivided space? Large ext wall for outdoor movie projection? Outdoor theater? | Rating____ Optimally one per room or indoor area Including main building lobby |
| Parking Lot | Max 50 cars | Parking, sports surfaces (Bball, skate-boarding, road hockey,) | Shortest dist to offices, kitchen, away from MPRs, courtyard, BBQs | End furthest from CC has Bball hoops, markings for road hockey, skate ramps, etc) Danger in combining kids play areas and parking lot?? Make sports surfaces suitable for occasional parking rather than other way around? Dedicated staff and visitor parking during business hours. Bicycle parking Electric scooter parking spots. | Rating______ |

# C.	Bubble Diagram of Facility Spatial Relationships

Below is a bubble diagram showing the relationship of the various spaces for the proposed community center.

Insert bubble diagram.

# D.	General Requirements of the Community Center

# 1.	Flexibility and Expandability

Anticipated growth in the University Hills community, due to the construction of Phase 9 and a possible Phase 10, requires that the new community center be designed to accommodate potential expansion, both in terms of physical plant and in terms of room size and configuration.  A future reduction in the number of ICHA staff members due to build-out of University Hills must also be taken into account.

# 2.	Sustainable Design Principles

In July 2003, the UC Regents approved a university-wide policy, Policy on Green Building Design and Clean Energy Standards , as a first step towards developing and implementing a larger comprehensive sustainability plan for the University of California.  UC Irvine has implemented the University of California's plan for achieving the Green Building Design goals.  This includes outperforming the required provisions of the California Energy Code (Title 24) energy-efficiency standards by at least 20 percent for other than acute-care facilities.  New buildings are designed to meet a minimum standard equivalent to the U.S. Green Building Council's LEED® 2.1 Certified rating.  UCI strives to achieve a standard equivalent to the LEED® Silver rating or higher, whenever economically feasible.  In the performance of University facilities, the factors considered critical to long-term operations, building cleaning, and maintenance of buildings include, but are not limited to, chemical usage, indoor air quality, utilities, and recycling programs.

With increasing energy costs in the California utility market, energy conservation measures are a key consideration in building design, equipment, and materials selections.  There are several different ways in which the building could be made “green” or environmentally sustainable.  Building orientation to take advantage of solar power and prevailing winds, eaves, and insulation are obvious areas of investigation, as well as selection of HVAC, electrical, and lighting systems.  The size of windows on the building’s east and west facades can be minimized to reduce the heat load.  The building is to be mechanically air-conditioned, but provisions should be made for operable windows and natural air flow in the event of a system failure and as an additional method of energy conservation.

In addition to considered choices in the selection of appropriate heating/cooling, electrical and lighting systems, the design should address the following in terms of life-cycle costing for the building:

- Optimal thermal insulation

- Double-glazing at all windows

- Operable windows

- Solar orientation

- Shade overhangs

- Earth berming???

- Active solar design

- Occupancy sensors for lighting systems

- Water-efficient plumbing fixtures and appliances

- Gray-water system for landscape irrigation

- Porous paving on sidewalks

- Interior Finishes

  - Unfinished concrete block

  - Low chemical paints where necessary

  - Stained concrete floors throughout

# 3.	Monitoring and Control of Access

Staff salary costs are a significant part of a community center’s operating budget and facilities often operate with less than the desired number of staff.  In light of this fact, ease of monitoring and control of the community center at its point of entry is required so that adequate service can be provided with the least possible number of personnel.  Visibility of the main entry area of the facility by ICHA staff is desirable.

# 4.	Fenestration

The community center site provides spectacular views of the San Gabriel and San Bernardino mountains, when visibility is good.  Views of this environment can add a special dimension to the community center experience for residents, staff, and visitors. Windows provide needed natural light and allow visitors and passersby to get a glimpse of activities within the facility.  Natural daylighting can also reduce demands on the building’s lighting system; the orientation and size of windows can also impact HVAC system operation and efficiency.  Natural lighting does have some negative aspects which must be considered in the design of the new community center:

- Deterioration/fading of furnishings

- Glare at work areas and computer stations for staff

- Intense concentrations of light (such as from skylights).

In general, the intensity of southern and western daylight requires architectural or control mechanisms to minimize the impact of the items noted above.  Northerly light is soft and diffused and should be harnessed where possible to add to the ambience of the interior lighting of the facility.

# 5.	Space Finishes

The style, visual impact, and durability of the new building will largely be determined by the building materials selected.  Since the community center will be in operation for a period of 40 years or more, quality of maintenance, weathering, and resistance to vandalism are key factors in selecting these materials.

Materials selection at the main entry is especially important for two reasons:

- The main entry is the public’s first experience with the building. It establishes the “feel” of the designed environment.

- The main entry is also an area of high use and durability and ease of maintenance are essential in the choice of materials.  Floor materials should be slip-resistant.  Wall and ceiling surfaces should be such that they can always be maintained in an “as new,” inviting condition.

From an operational standpoint, minimizing maintenance requirements should be a prime consideration in both exterior and interior materials selection.

# 6.	Access for the Disabled

The community center must be accessible to all residents, visitors, and staff.  The design must conform to State of California Title 24 requirements and Federal ADA guidelines, as well as any local codes regarding access for the physically handicapped.

# 7.	Noise

Since the community center will incorporate two functions – a work environment for ICHA staff and a leisure facility for residents of all ages – good interior sound attenuation will be essential.  In addition since the community center will be located adjacent to an existing and a proposed residential area, good exterior noise buffering is important.

The entry and community services areas are prime sources of noise generation.  Natural conversation levels and activity noise in these areas should be absorbed by spatial design, spatial separation, and materials selection.  [Consider locating ICHA conference room between reception area and staff office space.  Check with Andrew Herndon.]

Mechanical equipment rooms and ductwork should be insulated; acoustical dampers should be considered in ductwork to reduce sound transmission between active, noisy areas such as ICHA conference and meeting rooms and other areas of the community center.

# 8.	Environmental Conditions (HVAC)

The HVAC systems for the building should be designed to maintain an interior temperature range that ensure optimum human comfort levels and provide an environment which is not harmful to stored paper records or computer terminals.

A zoned system should be designed to allow the ICHA staff area of the facility to be operated separately from the community area.  All controls should be easily accessible to ICHA staff and community center staff and key locked.  HVAC units should be screened from view and vandal-proofed.

An analysis of the portion of the proposed HVAC system servicing the community area of the building will be presented to the Community Center Committee.  The analysis will indicate initial cost, first-year operating expenses and a life-cycle cost analysis for the proposed system.  The system musts comply with all State and local codes.

# 9.	Illumination

Combinations of direct, indirect, and task lighting are generally most effective in reaching the goal of a successful illumination environment.  Light sources most frequently used are incandescent, fluorescent, and solar.  There are first-cost and operating-cost implications implicit in the choice of each of these types of light sources and fixture configurations.

Emergency and security lighting systems must also be incorporated into the illumination system for the community center.  These systems should accommodate spaces that need to be totally darkened (such as conference/meeting rooms for program presentations), as well as addressing emergency exiting routes and night security issues.

# 10.	Power and Data Communications Requirement

Power

Because of the ICHA staff’s reliance on electronic equipment, the size and type of power supply is a critical element of the design of the building.  Since the design of the community center will allow for flexibility in the arrangement of rooms and equipment, the power supply that feeds these areas must also be flexible.  The system should be designed to assure that adequate power is available over the life cycle of the building.  At a minimum, power must be available for all staff workstations, conference rooms, meeting areas, and activity rooms, as well as all outdoor seating and activity areas.  [Separate meters?]

Data Communications

[Data outlets???]

Dedicated lines for telephone and data service will be required for computers, facsimile machines, and the building alarm system.  The master switching point should be located in the Staff Workroom’s Communication Closet.  Telephones for ICHA staff should allow multi-line access.  The telecommunications and data plan should be compared with the furnishings and equipment plan to assure that all locations have proper receptacles.  No public telephone will be required.  [Dedicated emergency phone with blue light???]

[Public address system in the community center for announcements???  Buzzer system to alert ICHA staff or visitors or residents at the front desk???]

# 11.	Security Systems

Staff workspaces and spaces that contain expensive equipment should be protected.  The overall building security system should allow for quick detection of unauthorized or after-hours entry into the building.  An electronic detection system should monitor all doors and windows.

The building should be designed to meet all applicable State and local fire and life safety codes.  Adequate exits must be provided and equipped with alarms.  Exterior building lighting and parking lot lighting should be provided to ensure the security of staff and residents and their guests using the community center during evening hours.

# 12.	Signs

An integrated graphic design and way-finding program should be developed for the community center.  This should include lighted exterior signage (either monument type or building-mounted), identification of all rooms in the building, use restrictions, and ADA accessibility signage requirements.  A community activity bulletin board should be included near the main entry area of the building.

A building directory should be provided in a location near the entry to assist residents and visitors in finding the areas of the community center they are seeking.  Signage should be flexible and easy to change.  Directional graphics should be most visible from the direction of most frequent travel.  Signs should be large enough to be easily read, but not obtrusive.

# 13.	Audio-Visual Systems

Audio-visual systems may be available for check-out and use in-house.  A television cable should be included in at least one location in the community center.

# 14.	Facility Management Costs

Initial projected staffing for managing the community center includes one part-time [full-time???] ICHA staff person.  That person will be responsible for handling room scheduling, maintenance scheduling, and general oversight of the residents’ usage of the building.  Funding for the position will come from ___________________________??

# Appendix A:  CC Team Members

| Entire group email: uhills-ccc@uci.edu |
| --- |
| Harry Mangalam | Co-Chair: | hjm@tacgi.com | 856-2847 (Home) 285-4487 (Cell) |
| Laura Stearns | Co-Chair: | lstearns@cox.net; lstearns@rbf.com | 212-1381 (Cell) 725-3106 (Home) |
| Aileen Anderson | Resident/HRB | aja@uci.edu |  |
| Ken Chew | Resident | chew@uci.edu | 949-856-3137 |
| Brian Cummings | Resident/HRB | cummings@uci.edu |  |
| Marta Crane | Resident | marta-baillet@sbcglobal.net , arta.crane@rdmd.ocgov.com | 714-834-6061 (Work) 949-854-3838 (Home) |
| Rachel Gamby | Resident | gambyr@uci.edu , rgamby@cox.net |  |
| Sunalini Hegde | Resident | shegde@kalarchitects.com | 351-2785 |
| Andrew Herndon | ICHA Mgmt | aherndon@uci.edu | 824-4068 (Direct line) 824-2424 (ICHA office) |
| Ronald Hooven | ICHA Board | rmhooven@uci.edu |  |
| Liz Philips | Resident | EPhillips@merage.uci.edu | 856-0886 |
| Carolyn Scheer Luce | Resident | casrdl@uci.edu | 854-8203 |
| Deborah Shaka | Resident | deborah-shaka@cox.net | 725-0402 |
| Georg Striedter | Resident | gstriedt@es.nacs.uci.edu |  |
| Michele Walot | Resident | mwalot@cox.net | 856-0929 |
| Leason Pomeroy, FAIA | Architect | LP3 Architecture, Inc. 158 North Glassell, Suite 201 Orange, CA 92866 | 714-771-8400 Prefers that emails and phone calls come from Harry, Laura, or Andrew |

# Appendix B:  Project Schedule

| Project Schedule |
| --- |
| Event | Date |
| Site Acquisition (Donation) |  |
| Planning/Land use permits |  |
| Schematic Design Complete |  |
| Design Development Complete |  |
| Working Drawings 90% Completion |  |
| Construction Documents Complete |  |
| Bid Advertisement |  |
| Start of Construction |  |
| Mid-Point of Construction (est.) |  |
| Completion of Construction |  |
| Opening to the Community |  |

# Appendix C:  Preliminary Budget Estimates

| Description |  | Budget |
| --- | --- | --- |
| Land Acquisition |  | 0 |
| Permit fees |  | ?? |
| Engineering fees |  |  |
| Survey |  |  |
| Soils test |  |  |
| Site preparation |  |  |
| Architect’s Professional Fees |  |  |
| Testing and inspection |  |  |
| Base bid estimate - $200/SF? |  |  |
| Contract amount |  |  |
| Escalation factor |  |  |
| Contingency |  |  |
| Interiors |  |  |
| Demolition/removal of trailers |  |  |
| ICHA moving costs |  |  |

# Appendix D:  Programming and Planning Guidelines [6-15-2004]

Programming and Planning Guidelines

University Hills Community and Irvine Campus Housing Authority

Community Building and ICHA Offices

Approved by ICHA Board 6-15-2004

USE PRIORITIES

The priorities for the use of this building and site design are to serve the community and the offices of ICHA.  The facility should be multi-functional and be able to accommodate community and office functions at the same time.

BUILDING AND SITE IDENTITY

The design of the building and the site shall be an important icon representing a

strong sense of identity for the housing community to the community at large.  The

building and site design shall be unique, unlike the traditional residential character and

possibly reflect an interpretation of the historic framework of the area.  The project shall

include environmental design elements with low maintenance as 	appropriate.  The project shall convey and provide security for its users.

The building and site orientation and organization shall consider view opportunities,

wind and solar exposure, and noise (both towards the facility and from the facility).  The building and site development should aid in the recruitment and retention of faculty and staff.  The completed project design shall provide a source of pride and be a “galvanizing” force for the community users and the people working in it.

GENERAL EXTERIOR / SITE

ACCESS:

Provide direct access to the site from side street (no direst access from California

Avenue).  Access directly into parking zone.  Access shall be provided for pedestrians,

bikes, and automobiles.  Provide curb drop-off for users and guests of the Community

Building.  Provide access to loading zone for service to the kitchen convenient to the

parking area.

PARKING:

Sufficient parking shall be provided for the Community Building and Office Space uses

convenient to the building entry.  Handicapped spaces shall be provided immediately

adjacent to the entry.  Parking area shall be provided with general and directional

lighting.

PEDESTRIAN CIRCULATION:

Defined pedestrian circulation shall be provided near the building and to the intersection

of California and Gabrielino where pedestrian street crossings shall give access to the

Community Park.  Pedestrian circulation shall be provided with general and directional

lighting.

LOADING/DELIVERY/SERVICE AREA:

The loading/delivery/service area should be centralized where possible and screened.

EXTERIOR PLAZA SPACE:

Provide a hardscaped all-weather surfaced plaza space to act as a large group gathering

area and provide indoor-outdoor expansion of the interior multi-purpose space.  Provide

shade structure for a portion of the space and lighting for evening and night use.  Provide

weatherproof electrical and communication circuits for differing venues.  Space may

include the opportunity for showing movies and active recreation i.e., ping pong, etc..  It should be located so that the noise from the use of this feature will not impact the residents to the north.

BAR-B-Q Area:

Provide for outdoor cooking and dining while allowing some privacy.  Consider this feature in the context of the exterior plaza space.  It should be located so that the noise from the use of this feature will not impact the residents to the north.

LANDSCAPING:

Perimeter landscaping shall relate to the general streetscape plans for the University.

Onsite landscaping shall relate to the building architecture and continue the building

design philosophy into the site resulting in an indoor-outdoor continuum.  Community

gardens shall be considered as space allows.

BUILDING EXPANSION:

Consider opportunities and the possibility for expanding the building on the site.

MULTI-BUILDING CONSIDERATIONS:

Consider the design and development for a small separate on-site building to house

the records and files, Maintenance storage needs, Rental inventory storage, and maintenance work area.

GENERAL INTERIOR SPACE FOR THE COMMUNITY BUILDING USES

ENTRY/RECEPTION:									230

Provide an un-staffed space for reception and a control function.  Provide public pre-function/circulation space to give convenient access to the various interior spaces and allow space for users to gather prior to entering the multi-purpose space for a particular venue.

RESTROOMS:										400

Provide adequate public restrooms accessible to all uses in the building and convenient

to the lobby and/or pre-function/circulation areas with exterior access for use when the

building is secured.  Restrooms shall be handicapped accessible.

FLEXIBLE COMMUNITY ROOM:				 		2,100 Estimate

Provide a multi-purpose space for uses such as large community meetings, banquets,

exhibits, productions (without a stage), music performances, classes, etc..  Locate the

multi-purpose space adjacent to the exterior space for indoor-outdoor expansion and relationship.  This room shall seat approximately 100 persons at tables for a meal and approximately 200 persons seated for a lecture-type meeting.

CONFERENCE/MEETING ROOM:							500

Provide a space for community meetings, board meetings, classes, clubs, and overflow.   This room shall house approximately 20 people seated at a conference table.

CLASS ROOM/MEDIA ROOM:								600

Provide a lecture hall type of space for no more than 100 persons for lectures, classes, meetings, viewing movies, videos, etc.

GAME ROOM:										400

A space large enough to have a variety of table games.

LIBRARY:										400

Provide a small comfortable passive quiet space for reading, contemplation, small group

gathering and relaxing.  Space shall include a fireplace.  This space should give

recognition to a mentor to many and good friend to all, Leon Schwartz.

BAR SPACE:										  60

Provide a small bar adjacent to and accessible to the multi-purpose space for use at

special functions.  Bar to be secure storage and a counter with sink only.  Consider locating near Coffee Area and Library.

KITCHEN:										350

Provide a kitchen adequate for catering and office use.  The kitchen should primarily be used for catering by outside service companies but also be provided with equipment for minimum cooking and warming.  The kitchen shall have sufficient space for a refrigerator, freezer, range, oven, microwave, dishwasher, sinks, and an icemaker.  It should be arranged in the Flexible Community Room to accommodate cooking classes and should be close to the Bar-B-Q area if possible.

COFFEE AREA:									  60

Provide a common coffee space for access to the Community as well as the ICHA staff.

This space may act as a small group meeting and gathering space and may be part of

another area or space.  Consider locating near Bar and Library.

JANITOR ROOM:									  30

Provide a space for the storage of janitor supplies and equipment to be provided with a

mop sink.

STORAGE:										360

Provide storage adjacent to those spaces requiring storage in appropriate size.

Approximate Community Space Requirements			          5,490

GENERAL INTERIOR SPACE FOR THE ICHA OFFICE USES

OFFICE:								          3,300  Estimate

Provide adequate and flexible space for ICHA offices to accommodate current staff and provide for future needs.

Operations-This should include a space that will be accessible to the public.

Community Development – general offices with a staff of 3

For-Sale Housing Center – requires exhibit space with a staff of 5

Rental – general offices with a staff of 4.  This department needs to be in 	physical proximity to the Maintenance Department.

Maintenance – includes general office space for a staff of 5

Manager – separate office

Staff – provide a common office space with 3 work spaces.  The Assistant Maintenance Manager needs a separate space for desk and work area, though not necessarily a separate office.  Space shall be near to showers and lockers (possibly located in an out-building) and have a separate entrance from the exterior, preferably away from public entrances.

Construction – includes general office space for a staff of 2

Finance/Administration – general offices which could be separated yet

have access to the public with a staff of 6

STORAGE:										320

Provide storage for files, plans, etc., adjacent to those spaces requiring storage in

appropriate size.

VAULT:											200

Provide a large storage space for contract files with a 1 ½ hour fire rating.

COMPUTER ROOM:								  	  60

Provide a small space to house the computer server equipment, security

equipment, and fire control.

COPY/MAIL/SERVICE AREA:								180

Provide separate copy/mail/service area for each primary group.

MEETING/CONFERENCE ROOM:							240

Provide one space to be shared by all primary groups and the Community

(when available).  This room shall house approximately 12 people and be located

for access to other Community spaces.  (Should this be located in the Community Section?)

OFFICE MULTI-PURPOSE ROOM:							200

Break area with sink with disposal, microwave, refrigerator, table, and chairs.  This room can also double as a staff meeting room.

Approximate ICHA Space Requirements				          4,500

Approximate Total Space Requirements				          9,990

# Appendix D:  Photos of sample desirable features